## Huntington Disease
QUANTIFICATION OF REPEAT LENGTH FOR HUNTINGTON DISEASE
CAG Repeat Length as Determined by 10 Clinical Laboratories
CORIELL DNA NUMBER | NIST Reference Sequence Analysis CAG Repeats | Mean1 |  | Mode2
| Allele 1/ Allele 2 | Allele 1 (95% Confidence Interval) | Allele 2 (95% Confidence Interval) | Allele 1 (% total response) | Allele 2 (% total response)
NA20206 | 17/18 | 17 (15.9-18.3) | 18 (17.2-19.1) | 17 (77%) | 18 (87%)
NA20207 | 20/21 | 19 (17.7-20.7) | 21 (20-22.1) | 19 (67%) | 21 (77%)
NA20208 | 35/45 | 35 (33.4-36.3) | 45 (43.5-46.5)
|  |  |  | 35 (80%) | 45 (77%)
NA20209 | 46/47 | 45 (43.8-46.2) | 47 (46.3-47.8)
|  |  |  | 45 (73%) | 47 (83%)
NA20210 | 17/75 | 17 (15.4-18.2) | 74 (72.0-76.6) | 17 (77%) | 74 (50%)
NA20245 | 15/15 | 15 (13.7-15.8) | 15 (13.7-15.8) | 15 (77%) | 15 (80%)
NA20246 | 15/24 | 15 (14.1-15.9) | 24 (22.3-25.9) | 15 (80%) | 24 (77%)
NA20247 | 15/29 | 15 (14.1-15.9) | 29 (28.1-29.9) | 15 (80%) | 29 (80%)
NA20248 | 17/36 | 17 (15.0-19.3) | 36 (35.1-37.3) | 17 (77%) | 36 (80%)
NA20249 | 22/39 | 22 (21.1-22.8) | 39 (38.3-39.9) | 22 (87%) | 39 (83%)
NA20250 | 15/40 | 15 (14.1-15.8) | 40 (39.2-41.0) | 15 (83%) | 40 (80%)
NA20251 | 39/50 | 39 (38.1-40.0) | 50 (49.1-50.8)
|  |  |  | 39 (80%) | 50 (83%)
NA20252 | 22/66 | 22 (21.2-22.9) | 66 (63.7-67.5)
|  |  |  | 22 (83%) | 65 (37%)/ 66 (37%)
NA20253 | 22/101 | 22 (20.3-23.3) | 99 (95.8-102.7) | 22 (73%) | 100 (52%)
1Mean repeat length calculated from 30 responses per allele (or 25 responses, allele 2 of NA20253)
Values were rounded to nearest whole number
2CAG repeat length reported most often out of 30 responses per allele (or 25 responses,
allele 2 of NA20253)
The ACMG Technical Standards and Guidelines for Huntington Disease, 2005 were used for this project.
METHODS
1) DNA samples from 14 Huntington Disease cell lines were prepared by the Coriell Cell
Repositories and sent to 10 volunteer laboratories for testing. The expected CAG allele sizes
were blinded to the laboratories.
2) The laboratories determined the CAG repeat size 3 separate times using their in-house assays.
3) DNA sequence analysis was performed at NIST using automated fluorescent sequencing.
4) Mean repeat values and 95% confidence intervals were calculated using SAS® PROC GLM.
Methods used to measure size of HD PCR product in participant labs
|  | Lab # | Signal | Detection Method | Sizing Method*
|  | 1 | Fluorescent | Capillary Electrophoresis (ABI3100 Avant) | Automated and Manual counting (when required)
|  | 2 | Isotopic | Polyacrylamide Gel Electrophoresis (PAGE) | Manual counting
|  | 3 | Fluorescent | Capillary Electrophoresis (ABI3100) | Automated
|  | 4 | Fluorescent | Automated Sequencer (ALF) | Automated
|  | 5 | Fluorescent | Capillary Electrophoresis | Automated
|  | 6 | Fluorescent | Capillary Electrophoresis (ABI3100) | Automated
|  | 7 | Isotopic | Polyacrylamide Gel Electrophoresis (PAGE) | Manual counting
|  | 8 | Isotopic | Polyacrylamide Gel Electrophoresis (PAGE) | Manual counting
|  | 9 | Isotopic | Polyacrylamide Gel Electrophoresis (PAGE) | Manual counting/ digitizing**
|  | 10 | Isotopic | Polyacrylamide Gel Electrophoresis (PAGE) | Manual counting
*For automated, sizes determined by software using internal size controls; for manual, sizes determined by stairstep method, i.e., counting up stuttersteps using controls; for digitizing, sizes determined by manually ticking bands using a computerized record system and calculating sizes against control bands.
**Manual counting up to 50 repeats; digitized all larger fragments.